## Slide 1: LGM Grand Rounds August 17, 2023
To receive CME credit, please scan this QR Code using your WUSLT Key to login:
Credit Available For This Activity
In support of improving patient care, Washington University School of Medicine in St. Louis is jointly accredited by the Accreditation Council for Continuing Medical Education (ACCME), the Accreditation Council for Pharmacy Education (ACPE), and the American Nurses Credentialing Center (ANCC) to provide continuing education for the healthcare team.
American Medical Association (AMA) Washington University School of Medicine in St. Louis designates this live activity for a maximum of 1 AMA PRA Category 1 CreditsTM.
FACULTY: To receive CME credit please scan this QR Code and use your WUSTL Key to sign in
All disclosures are valid for one year from the Last Confirmed date. If older than one year from the date of the talk, the disclosure must be updated.
Any relationship shown below in italics has been divested within the last 24 months and is therefore considered mitigated. All relevant financial relationships have been mitigated.
Disclosures: None
Course Chair: Neil Anderson, MD: Speakers Bureau/Honoraria: Alere, Biomerieux; Consulting/Advisory Committee: Diasorin Molecular
Planning Committee: Rachel Bosserman, PhD: Nothing to disclose
Session Speaker: Christopher Snyder, MD, PhD

## Slide 2
Christopher Snyder, MD, PhD
Division of Laboratory and Genomic Medicine
Department of Pathology & Immunology
August 17, 2023
On Preclinical Variation and TSH Interpretation
Notes: recent patient case:
accession # 22-194-4341 MRN: 201139746

## Slide 3: Disclosures
I have no relevant or financial disclosures.

## Slide 4: Learning Objectives
By the end of this session, the learner should be able to:
Describe the biology, measurement, and interpretation of TSH.
Evaluate literature on sources of healthy TSH variation.
Study reference interval constructions and limitations.
Cover feasibility of a “big data” approach.

## Slide 6: Dr. El-Khoury
"Seasonal Variation may lead to...
false diagnosis of subclinical hypothyroidism
and unnecessary prescriptions."
"War on Error" Talk
Clin Chem Letter
Seasonal TSH
“Seasonal Variation in Thyroid Function”, Yamada et al.

## Slide 7: Dr. El-Khoury
"Seasonal Variation may lead to...
false diagnosis of subclinical hypothyroidism
and unnecessary prescriptions."
Therapeutic intervals
Outcome-based cutoffs
Better answers the question for which a physician orders the labs
Answers the question, "Should I treat?"
"War on Error" Talk
Clin Chem Letter
Seasonal TSH
“Seasonal Variation in Thyroid Function”, Yamada et al.

## Slide 8: Subclinical Hypothyroidism (briefly)
Defined by
  1. Slightly elevated TSH concentration
  2. Normal T4
Treated with
  T4 replacement
Cartoon of TSH. Normal Range (Green)

## Slide 9: The Decision Limits for Treatment
Agreement on Extremes
  Clear guidance only for TSH > 10 mIU/L, 1
  No treatment within "normal" (0.3 – 4.2 mIU/L)
Controversy in Between
  "No benefit" of treatment unless TSH exceeds 7 – 10 mIU/L, 2
  Controversial recommendation to lower the upper limit to 2.5 mIU/L, 3
  Reference range adjusts over time with assay sensitivity
1 AACE and ATA Guidelines; 2012
2 Ross, "Treating Hypothyroidism Is Not Always Easy".
3 NACB Laboratory Medicine Practice Guidelines (LMPG) - Laboratory Support of the Diagnosis and Monitoring of Thyroid Disease: PDF Documents, NACB, 2002.

## Slide 10: Are We Overtreating?
30% increase in Synthroid prescriptions over the past decade. 4
TSH level for initiation steadily decreasing: "between TSH values of 5 − 9mIU/L for 61% of new Synthroid prescriptions.5"
“the vast majority of patients initiated on Synthroid had only mild TSH elevations. . . and resulted in no improvement in health-related quality of life over time” 4
4Rodriguez-Gutierrez et al., “Levothyroxine Overuse”, (OptimLabs, systematic review).​
5Ross, “Treating Hypothyroidism Is Not Always Easy”.​

## Slide 11: How Big is the Impact?
Volume
  Treatment – Synthroid is one of the Top 3 prescriptions in the USA.
  5%-10% disease prevalence by USA epidemiology studies.
  Testing – $60,000 annually at BJC.
Gravity
  Wrong choices increase mortality.
  Pan–organ morbidity.
Responsibility​
Clinician relies on Pathologist for establishing significance.

## Slide 12: No Safe Hedge
Undertreatment
Increased Mortality
  Cardiovascular epidemiological studies of untreated subclinical hypothyroidism demonstrate increased cardiovascular mortality.
Hazard Ratio (HR) in untreated SCHO for coronary heart disease mortality was 1.42a.
Overtreatment
Increased Mortality
  Demonstrated Risk of Atrial Fibrillation and Stroke, per every std dec TSH.
  Adverse skeletal (osteoporosis) and psychological effects.
a Ross, Treating Hypothyroidism is Not Always Easy. Journal of Internal Medicine. 2021.​
Notes: Evron JM et al 2022 Association of thyroid hormone treatment intensity with cardiovascular mortality among US veterans. JAMA Netw Open 5(5):e2211863. PMID: 35552725.
Risk of death was correlated with both a decreased and an increased TSH levels. Risk of death was increased by 39% if the TSH was suppressed and 13% if the TSH was low but detectable. Risk of death increased steadily as the TSH increased above the normal range, from 42% for a slightly increased TSH to 267% if the TSH was >20. The risk was even higher in older patients (>85) when compared with younger patients, ranging age to 18 to 49 years.

## Slide 13: A Good Idea Addressing a Related Need
However​,
Those treatment data do not exist​
Does not address diagnosis​
It makes assumptions about the therapy in question​
​
Moreover, “Which” Therapeutic Interval?​
Need additional intervals for each therapeutic?​
For each treatment–goal?
Someone should do that...
Clinical decision support for physicians
Perhaps with a therapeutic interval, doctors would not overload the reference interval for therapeutic decisions.

## Slide 14: An Endocrinologist's Perspective
Dr. Reik:
  Thinks at BJH that most use high threshold for treatment
  This would avoid the risk of seasonal over-prescription
    *our climate has not been studied
    *there are risks of under-prescription
She also mentioned:
  The more egregious misapplication of the reference interval is to assess thyroid function in a sick inpatient
  *NACB, 2003: context dependent reference intervals: twice the upper cut-off for inpatients

## Slide 15: Proposal:
model “context-dependent significance”
correctly predict lab values 95% of the time
are called “Null Intervals”
do not replace reference intervals
Seasonal intervals that …
Notes: “Interpretation is context dependent…”

## Slide 16: TSH Biology
Afferent signals project to the H from higher brain centers.
Communicate through an interactive network of positive feedforward (arrows) and negative feedback loops (bars).
Involving as signals the respective hormones produced and released by each gland into the circulation,
namely TRH by the ,
TSH by the ,
T4 and T3 by the .
H
Hoermann, R. Principles of Endocrine Regulation (2022).
H
P
T
Notes: But before I can continue that journey, let’s all get to the same page.
…Melaton dependent release of thyroid-stimulating hormone (TSH) in the pars tuberalis of the pituitary gland
Low temperatures stimulate the production of thyroliberin by neurosecretory cells of the hypothalamus,
TSH Error Signal, "logarithmic" suitable for measurement
Sensitivity to Situation
Controllable at Evaluation
  Time of Day, Satiety, Sickness, 15-20 Pharm
Uncontrollable at Evaluation
  Seasonality, Age, Time of Year, Pregnancy

## Slide 17: TSH Biology
(2022) Rudolf Hoermann. Principles of Endocrine Regulation
T3 is both synthesized de novo in the thyroid follicular cell (F)
and converted from T4 as a precursor by deiodinases (D).
The circulating free forms of T4 and T3 are referred to as
FT4 and FT3, respectively.
F
D
Notes: Network of the hypothalamic-pituitary-thyroid axis regulation. Afferent signals project to the hypothalamus from higher brain centers. The hypothalamus (H), pituitary (P), and thyroid gland (T) communicate through an interactive network of positive feedforward (arrows) and negative feedback loops (bars), involving as signals the respective hormones produced and released by each gland into the circulation, namely TRH by the hypothalamus, TSH by the pituitary and T4 and T3 by the thyroid gland. T3 is both synthesized de novo in the thyroid follicular cell (F) and converted from T4 as a precursor by deiodinases (D). The circulating free forms of T4 and T3 are referred to as FT4 and FT3, respectively.
Stability to Perturbation
System Critical --> Tight Regulation
TSH Error Signal, "logarithmic" suitable for measurement
Sensitivity to Situation
Controllable at Evaluation
  Time of Day, Satiety, Sickness, 15-20 Pharm
Uncontrollable at Evaluation
  Seasonality, Age, Time of Year, Pregnancy

## Slide 18: TSH Measurement
Sandwich Assay
1. TSH‑specific monoclonal antibody (mAB)
  Biotinylated
  Ruthenium Labeled
2. Magnetic Capture
  Streptavidin-coated microparticles
3. Voltage induced chemiluminescent
  Antibodies labeled with ruthenium
Caveats?
No HAMA (chimeric AB)
No hook
No HIL
Yes: macro-TSH due to auto-AB
  (unexpectedly high result)
Notes: Over the years the assay for TSH has become the most sensitive measure of the wellbeing of the thyroid axis.
electrochemiluminescence immunoassay
We use an immunoassay invovling a monoclonal antibody in a two step biotin capture system. Quantification is achieved through chemiluminescence and comparison with a standard curve of luminescence for known TSH values
You may be wondering if these values can sometimes be misleading. Fortunately there are few analytic caveats.
However, post-analytic interpretation depends on comparison with a reference interval.

## Slide 19: The Reference Range
Reference Population ("Healthy Controls)
Random sample from population of healthy individuals
Reference Range (Reference Interval)
Quantiles estimated from samples
Notes: First we will start with the definition
Quantile is used interchangably with percentile

## Slide 20: Establishing Reference Intervals
Use healthy volunteers for "normal" (direct method).
CLSI: Specific Guidelines
120 person recommendation
2.5%, 97.5% Percentiles estimated
Many choose to verify manufacturer interval
“non-parametrically” (usually empirically)
  TSH: Reference Values (BJH Catalog)
Notes: Now that we have established common terminology, I will resume the story.

## Slide 21: Dr. El-Khoury referenced paper on TSH Seasonality
Background
  Existing literature suggests seasonality but is conflicting
  Previous studies lacked stringent, healthy controls
Study Design
  Cross–sectional, annual check-up
  Gunma Prefecture, Japan
  12 month period
Yamada, S. et al. J Endocr Soc. 2022 PMID: 35528829

## Slide 22: Study Design
Exclusion Criteria (Questionnaire)
  Overt or historical thyroid disease
  Liver cirrhosis
  Renal failure
  Relevant medications, illness, steroid hormones
Methodology
  Collect TSH, FT3, FT4
  Blood samples collected 8:00 to 9:00 am (to exclude diurnal variation)
  All subjects had fasted 11 hours
Population
  6,343 (3,667 men) age 53.8 ± 11 years
Notes: The diurnal variation and fasting interested me as I did not know about their effects on TSH.
Peak daily TSH is at least twice the trough
Fortunately we don’t have to worry about this because we can standardize when samples are collected

## Slide 23: Yamada et al, Data
Yamada et all. 2022. Figure 1. Replotted.
Month | Positive by RI n(%)
January | 17 (2.71)
February | 17 (2.61)
March | 12 (2.17)
April | 5 (1.31)
May | 3 (1.21)
June | 4 (1.08)
July | 7 (1.55)
August | 6 (1.02)
September | 3 (0.54)
October | 4 (0.66)
November | 7 (1.22)
December | 5 (0.68)
All | 90 (1.42)
Table 2. Replotted.

## Slide 24: Yamada et al, Figures and Tables
Yamada et al., “Seasonal Variation in Thyroid Function”, Figure 1. Original.

## Slide 25: Findings
Implications
  Demonstrated TSH: High in winter and Low in summer.
  Linked seasonality to subclinical diagnoses (by manufacturer limit)
  Identified source of TSH variation not captured by our reference intervals
  May lead to false diagnoses & unnecessary prescriptions
Limitations
  Scope limited to single year
  (Is the effect Stationary year-to-year?)
  Controlled for many relevant effect modulating variables
  Generalizability – more next slide

## Slide 26: Idea 1: Seasonal Calibration
"Just Transform" Data from Yamada et. Al.
Linear "2-point calibration" to map yearly upper and lower reference.
Then, we'll use the same scale factor to derive our month-to-month.

## Slide 27: Limits on Direct Comparison
Demographic, diet, enzyme polymorphisms
Effect in each geographic region unique
  Sunlight, humidity, temperature, pO2
  The "Rainy Season"
    Spring to summer transition
    Excessive rain, less sunshine
    Decouples sunlight and temperature correlation
Temperature (°C)
Sunshine (hours)
aYamada, S. et al. J Endocr Soc. 2022 PMID: 35528829
Notes: Prob need to calibrate for each region

## Slide 28: Yamada et al: A Closer Look at the Data
Notes: Satisfied that the effect was real, albiet in only 1 paper so far, I wanted to assess more closely how Roche formulated their ref interval to see if they considered seasonality as well.

## Slide 29: Second Thoughts
Not a Great Idea
Requested access to Yamada data
Significant monthly variation
Would need to stretch cutoff from yearly 97.5% to 99% for cutoff to cover monthly variation
The false negatives matter
Estimating 99%ile requires more patients than the 95%ile
Yearly "Apparent Percentile" Seasonal Cutoff

## Slide 30: Second Thoughts
Not a Great Idea
Requested access to Yamada data
Significant monthly variation
Would need to stretch cutoff from yearly 97.5% to 99% for cutoff to cover monthly variation
The false negatives matter
Estimating 99%ile requires more patients than the 95%ile
"Apparent Percentile" Seasonal Cutoff
Month of the Year (January to February)

## Slide 31: Roche, 2003: TSH (Adult) R.I.
Who?
870 Adults, aged 20-69
Where?
Leipzig, Germany
When?
4 month period (May to August 2003)
  TSH: Reference Values (BJH Catalog)
Notes: The climate in Leipzig is likely to be very different
Unfortunately, all of this patient data was collected during the summer time.
Because L. hg. Latitude, more hours of sunlight than if we had done a summer study.
Confident that I might be on to something, I wanted to make sure that I had the seasonality right.

## Slide 32
Aims:
  To investigate the seasonal dynamics of circulating TSH
  in the published reports
Kuzmenko, N.V. et al. Chron Int. 2021. PMID: 33535823
Study Design:
  Meta-analysis: studies (as of 2020) w/ euthyroid adults
  Excluded extreme climates, time-of-day not recorded
  1051  n=20 studies (primarily cross-sectional)
  Meteorological data

## Slide 34: Kuzmenko et al, Findings (1)
Circulating TSH levels were higher in winter than in the other seasons
TSH, Men
TSH, Women
TSH, Total
Significant increases in TSH levels during winter in women, but not in men
More in Summer
More in Winter
Kuzmenko, N.V. et al. Chron Int. 2021. PMID: 33535823

## Slide 35: Kuzmenko et al, Findings (2)
Kuzmenko, N.V. et al. Chron Int. 2021. PMID: 33535823
TSH, Seasonal ∆T > 26 C
More in Summer
More in Winter
TSH, Seasonal ∆T < 17 C
No temperature effect size:
No dependence of TSH on amplitude of seasonal fluctuation in air temperatures
More in Summer
More in Winter

## Slide 36: Kuzmenko et al, Findings (3)
TSH seasonal effect magnitude correlates better with seasonal variation in mean monthly atmospheric pressure and ρO2
“seasonal dynamics of TSH is expressed in a climate in which relative humidity is higher in summer than in winter” (Kuzmenko et al., 2021, p. 310) (pdf)
More in Summer
More in Winter
TSH, Seasonal ∆P > 10 hPa
TSH, Seasonal ∆P < 4 hPa
Kuzmenko, N.V. et al. Chron Int. 2021. PMID: 33535823

## Slide 37: Kuzmenko et al
Findings
  TSH levels higher in winter overall, statistical sig. for women
  TSH seasonality higher with…
    Increased fluctuation of monthly pO2 and atm pressure
    Areas with higher humidity in summer than in winter
Notes: Greater in bejing than moderna, italy

## Slide 38: Kuzmenko et al
Limitations
  Underpowered to detect age effect (only 2 of 20 studies)
  Meta-analysis restricted to those published in English
  Could not trend individuals
    (cross-sectional)
  Majority of studies not controlled for caloric intake (and iodine)
    diet is likely also seasonal and needs further study as a causative factor
  Many unclear confounders
    all metrological variables influence each other

## Slide 43
Background
  Discrepant thyroid (assoc.) disease prevalence USA (12%[1]) vs China(40%).
    Primarily subclinical hypothyroidism
  Authors concerned for false elevation.
  Manufacturer intervals are widely adopted but based on few samples.
[1] American Thyroid Association
Xie T et al. Frontiers in Endocrinology. 2023. PMID 36686466
Aims
  Determine dynamic trends of serum TSH, T3, FT3, T4 and FT4.
  Re-evaluate Manufacturer reference interval validity.
  Explore possible roles of age and sex on the levels of biomarkers.

## Slide 44
Study Design
Cross Sectional Study
Healthy Adults ages 22 - 70 years, 8/2019 - 9/2020
> 66,000 individuals met inclusion criteria
Methodology; Exclusion Criteria
Pregnancy, past of family endocrine history, medications affecting thyroid function
Required patients to fast for 8 hours
TSH measured on Roche Cobas E 601
Xie T et al. Frontiers in Endocrinology. 2023. PMID 36686466
Notes: As the study
subjects were allowed to choose their health check packages and
different packages included varying numbers of tested thyroid
hormones, it is not surprising that the data size for serum levels of
TSH, T3, T4, FT3 and FT4 are different. Specifically, the TSH level
was determined for all subjects. While the serum level of T3 and
T4 were measured for approximately 54,000 subjects. In
comparison, only 34,000 subjects choose to take all five thyroid
hormones. The sample size of each analyte and the number of
outliers removed are listed in Table 1.
Previous studies create partitions based on age, but do not explain methodology – as in this study which uses Harris & Boyd
For all study participants, 8 hours of fasting were required
before blood sampling. In brief, 3 ml of blood was collected from
each subject using a vacutainer blood collection tube (Sanfeng
Medical Co., Ltd., Chongqing, China). After incubation at room
temperature for 10 min, the serum was isolated by centrifugation
at 3,000 rpm for 10 minutes. The levels of T3, T4, FT3, FT4 and
TSH were determined using a Cobas E 601 automatic electrochemiluminescence
immunoassay analyzer (Roche Diagnostics,
Shanghai, China) with the corresponding Elecsys® detection Kit.
The time interval between sampling and testing was <60 min.
The limits of detection (LOD)/quantification (LOQ) are listed in
Supplementary Table S4.

## Slide 45
Xie T et al. Frontiers in Endocrinology. 2023. PMID 36686466
Notes: (left) Median TSH lower in Males than Females ( but no change in RI based on sex?)
(right) TSH minimal variation in males, steady increase for females ages 40-68 years
--proposed explanations: decreased TSH activity, or dec sensitivity of TSH to negative feedback of thyroid hormones, or inc uptake iodine or accelerated organ failure of thyroid tissue in females
Data analyzed with CLSI-C28-A3 Guidelines

## Slide 46
Xie T et al. Frontiers in Endocrinology. 2023. PMID 36686466
Notes: Available histograms- each plot is a diff age (years), colors mean same as previous (male vs female)

## Slide 47
7.00
6.00
5.00
4.00
3.00
2.00
1.00
TSH (mIU/L)
The Change of TSH over Age and Sex
Age (years)
22 30 40 50 60 70
Female
Male
Xie T et al. Frontiers in Endocrinology. 2023. PMID 36686466
Notes: Compound effect Age and Gender more closely

## Slide 48
7.00
6.00
5.00
4.00
3.00
2.00
1.00
FT3 (mIU/L)
The Change of FT3 over Age and Sex
Age (years)
22 30 40 50 60 70
Female
Male
Xie T et al. Frontiers in Endocrinology. 2023. PMID 36686466

## Slide 49: Conclusion from Measuring Local Ref. Interval (same assay and manufacturer we use)
Package Insert: Thyrotropin TSH. Roche Corporation 04/2021.
0.270 - 4.20 miU/L​
0.683 - 5.45 miU/L
manufacturer ​ ​ proposed by Xie et al.
Notes: Data were analyzed in accordance with CLSI C28-A3
guidelines (7). Statistical analysis was implemented using R
studio Ver. 4.0.5 or EXCEL Ver. 16.65. In brief, the frequency
histograms of each biomarker were used to visually inspect the
data. Outliers were identified using Tukey’s tests and removed.
The normality of the data was determined by the Shapiro−Wilk
test. The RIs of each biomarker were partitioned by the Harris
& Boyd approach (7); if the results did not suggest partitioning,
the data were combined and re-estimated. The nonparametric
rank method was used to calculate the 0.5th, 2.5th, 25th, 50th,
75th, 97.5th and 99.5th percentiles of each reference partition.
The central 95% interval, corresponding to the range between
the 2.5th and 97.5th percentiles, was defined as the RI. For each RI, the 90% confidence intervals were calculated for the
end points.
3

## Slide 50: Conclusion from Measuring Local Ref. Interval (same assay and manufacturer we use) manufacturer proposed by Xie et al.
Package Insert: Thyrotropin TSH. Roche Corporation 04/2021.
0.270 - 4.20 miU/L​
0.683 - 5.45 miU/L
Notes: Data were analyzed in accordance with CLSI C28-A3
guidelines (7). Statistical analysis was implemented using R
studio Ver. 4.0.5 or EXCEL Ver. 16.65. In brief, the frequency
histograms of each biomarker were used to visually inspect the
data. Outliers were identified using Tukey’s tests and removed.
The normality of the data was determined by the Shapiro−Wilk
test. The RIs of each biomarker were partitioned by the Harris
& Boyd approach (7); if the results did not suggest partitioning,
the data were combined and re-estimated. The nonparametric
rank method was used to calculate the 0.5th, 2.5th, 25th, 50th,
75th, 97.5th and 99.5th percentiles of each reference partition.
The central 95% interval, corresponding to the range between
the 2.5th and 97.5th percentiles, was defined as the RI. For each RI, the 90% confidence intervals were calculated for the
end points.
3

## Slide 51: Xie et al
Implications
  Large difference between manufacturer and own RI.
  Established significant age- and sex- effects on TSH.
  Function indicators, based on CLSI EP28-A3c guidelines.
Notes: 7. Horowitz GL, Altaie S, Boyd JC, Ceriotti F, Garg U, Horn P, et al. Defining,
establishing, and verifying reference intervals in the clinical laboratory; approved
guideline. 3rd ed. USA: CLSI and IFCC (2010) p. 12–20.

## Slide 52: Xie et al
Implications
  Established age- and sex-stratified RIs for thyroid function indicators, based on CLSI EP28-A3c guidelines.
Limitations
  Inclusion/exclusion criteria offset by large data sample
  Does not account for cofactors
    e.g. iodine intake, ethnicity, climate, seasonal changes
  Did not specify time of day samples were taken
Notes: 7. Horowitz GL, Altaie S, Boyd JC, Ceriotti F, Garg U, Horn P, et al. Defining,
establishing, and verifying reference intervals in the clinical laboratory; approved
guideline. 3rd ed. USA: CLSI and IFCC (2010) p. 12–20.

## Slide 53: To Recap
Non-Seasonal Modifiers of TSH
It’s complicated
A range of promising steps

## Slide 54: To Recap
Non-Seasonal Modifiers of TSH
It’s complicated
A range of promising steps
Doing an informatic sanity check of Roche RI
A Null Interval that knows about 1 to N factors
I see value in :

## Slide 55: To Recap
Non-Seasonal Modifiers of TSH
It’s complicated
A range of promising steps
Doing an informatic sanity check of Roche RI
A Null Interval that knows about 1 to N factors
I see value in :
One worries about:
Whether is it even possible to make so many corrections

## Slide 56
Null Intervals vs Reference Intervals:
TSH
“Reference Intervals”
Inpatient
Checkup
“Null Intervals”
*
Inpatient
Checkup
Notes: Which is the more appropriate interval for comparison?

## Slide 57
Null Intervals vs Reference Intervals:
*
Fall
Winter
Summer
TSH
The Difference in TSH Interpretation (illustrative data)
Fall
Winter
Summer
“Reference Intervals”
“Null Intervals”
Notes: Which is the more appropriate interval for comparison?

## Slide 58
Null Intervals vs Reference Intervals:
*
Inpatient
Inpatient
+ ldopa
Checkup
TSH
The length of the 95% interval is Variable!
“Reference Intervals”
Inpatient
Checkup
“Null Intervals”
*
Notes: Which is the more appropriate interval for comparison?
Produces the shortest interval that captures 95% of data

## Slide 59: M-A-T-H
Notes: Audience apprehension about math
Audience suspicion that I am making it more complicated than it needs to be

## Slide 60: Quantile Regression:
“1 Simple Trick”
Curve fitting adapted to percentiles!
Ei := max{ qlo (Xi) − Yi , Yi − qhi (Xi) }
Ei
Compensate prediction intervals by adding
  "telomeres" = Quantiles (residuals)
Bates. A Gentle Introduction to Conformal Prediction and Distribution-Free Uncertainty Quantiﬁcation. 2022

## Slide 61: Quantile Regression:
Ei := max{ qlo (Xi) − Yi , Yi − qhi (Xi) }
Ei
Compensate prediction intervals by adding
  "telomeres" = Quantiles (residuals)
Bates. A Gentle Introduction to Conformal Prediction and Distribution-Free Uncertainty Quantiﬁcation. 2022
What is a median (0.50 Quantile)
Q50

## Slide 62: Quantile Regression:
Ei := max{ qlo (Xi) − Yi , Yi − qhi (Xi) }
Ei
Compensate prediction intervals by adding
  "telomeres" = Quantiles (residuals)
1x
1x
1x
4x
Q80
1x
"pinball" or "check" function

## Slide 63: Quantile Regression in context
Mean
Median
Quantile
Slope (1-α) or α​
Notes: x̂

## Slide 64: Quantile Regression
Roche used this technique in 2009 to model 97.5%-tile of TSH
Age-Dependent Estimates
No binning needed
What can go wrong?
Roche, 2009. Reference Intervals for Children and Adults.
TSH (uIU/ml)
Age (years)
Female
0
10
60
70
20
5
10

## Slide 65: Model Criteria: Accommodate Heteroskedasticity
Y ∈ q50(X) ± σ
Yamada data request, 2023
Not "Most likely[Y|X] plus noise"
σ needs dependence on X too!

## Slide 66: Quantile Regression Limitations
“Overfitting”
“Over-Confident” models produce intervals that are too short!
Neural networks especially prone to this
Notes: New Problem?
  (vs 1-D Ref. Interval Case)

## Slide 67: Quantile Regression Limitations
“Overfitting”
“Over-Confident” models produce intervals that are too short!
Neural networks especially prone to this
Want:
Notes: New Problem?
  (vs 1-D Ref. Interval Case)

## Slide 68: Conformal Prediction:
>1000 citations/year since 2019
"user-friendly paradigm for creating statistically rigorous uncertainty sets"
Ei := max{ qlo (Xi) − Yi , Yi − qhi (Xi) }
Ei
Compensate prediction intervals by adding
  "telomeres" = Quantiles (residuals)
Bates. A Gentle Introduction to Conformal Prediction and Distribution-Free Uncertainty Quantiﬁcation. 2022
Notes: valid in a "distribution-free sense"
  (No "Limit Theorems")
use with any pre-trained model (NNet)
Guarantee: sets contain ground truth with user-specified probability

## Slide 69: Conformal Prediction: Limitations
All models will satisfy 95% criteria
Not all models are equal
Many useful extensions:
Can limit false discovery rate
Can adapt to climate drift
A Gentle Introduction to Conformal Prediction and Distribution-Free Uncertainty Quantiﬁcation. 2018

## Slide 70: Conformal Prediction: Prediction Length
All calibrated models have the Same Coverage
Surely, some are "better"?
Short Interval Length
  • Easier to reject H0
  • Detects more anomalies
  • Length(C(X)) = 0 in deterministic limit
Fig 2. Emmanuel J. Candès. Conformalized Quantile Regression. 2019
red for split conformal, in gray for locally adapative split conformal, and in light blue for our method

## Slide 71: Machine Learning
Fig. 2. Graphical representation of types of machine learning models: (A) a simple decision tree and (B) deep learning neural network.

## Slide 72: Conformal Prediction: Model Calibration
held-out validation set
"reference intervals for residuals":
Compensate prediction intervals by adding
  "telomeres" = Quantiles (residuals)
Notes: Ei := max{ qlo (Xi) − Yi , Yi − qhi (Xi) }

## Slide 73: Conformal Prediction
A method for taking any heuristic notion of uncertainty from any model and converting it to a rigorous one.
How is it possible to construct a statistically valid prediction set even if the heuristic notion of uncertainty of the underlying model is arbitrarily bad?

## Slide 74: Quantile Regression: Limitations
α=0.95
α=0.05

## Slide 75: Fisher Notes
  Random variables z1,z2,... are independently drawn from a normal distribution with unknown mean and variance. 1935 by R. A. Fisher
  95% prediction interval for zn based on z1,...,zn−1
  too weak to be interesting from a modern machine-learning perspective

## Slide 76: In Summary
General expected elements of LGM presentations are either required for CME or intended to help you grow as a speaker
Optimize learning for you and the audience, and have fun!

## Slide 77: Summary of Recommendations
Better quantification of population TSH values is a high-impact area with low hanging fruit.
It has been >20 years since the Roche RI study.
It’s clear that there is some real exogenous effect on TSH, but the driving factors are not crystal clear.
It’s well worth looking into seasonal variation, but it will be difficult to know what to look for.
An AI model serves as a good positive control for finding nebulous signal.
Recent advances in AI allow true null hypothesis modeling—clinically relevant.

## Slide 78: Weighing Benefits and Risks
Risks
  Implementation – physician trust of data
Challenges
  Accurate labeling and data
  Technical
    Computational infrastructure
    Personnel with the right expertise
Benefits​
  Improved diagnosis and
  improved outcomes
  Low cost after initial set-up

## Slide 79: Cost Savings

## Slide 80: Current Systems and Proposed Changes
What is a normal TSH?
What is a normal TSH for you?
Notes: https://ij-healthgeographics.biomedcentral.com/articles/10.1186/1476-072X-12-11
This work continued with Luo et al. [15], who conceived a clinical decision support tool capable of predicting laboratory test results from related laboratory results and other clinical information. As a proof of concept, they demonstrated a machine learning algorithm that was capable of predicting whether serum ferritin level was abnormal with considerable accuracy—achieving an AUROC of 97% using a random forest imputation method to fill in required missing laboratory features that were then fed into a logistic regression model. Meanwhile, Lidbury et al. [22] also studied the redundancy of laboratory test panels, with a focus on liver function tests. They were able to predict whether ɣ-glutamyl transferase (GGT) was normal or abnormal using other components of the liver function panel, achieving an accuracy of 90% with a tree-based machine learning model. They concluded that GGT offered little additional value beyond the other components of a typical liver function panel.
Along similar lines of test result prediction and lab utilization, Xu et al. [23] studied a machine learning model to predict laboratory test results as normal or abnormal in order to identify low-yield, repetitive laboratory tests. Their group performed a multi-site study of nearly 200,000 inpatient laboratory testing orders to identify the most repetitive laboratory tests, and then attempted to predict each one. They were able to achieve an AUROC of > 90% for 20 common laboratory tests including sodium, hemoglobin, and lactate dehydrogenase. They proposed a sensitive decision threshold pertaining to a negative predictive value of 95% to power a clinical decision support tool aimed at reducing low-yield, repetitive testin
https://www-sciencedirect-com.beckerproxy.wustl.edu/science/article/pii/S0009912022000595

## Slide 81: Made Possible by
Dr. Farnsworth, PhD
Dr. Gronowski, PhD
Dr. Zaydman MD, PhD
Dr. El-Khoury, PhD (left)
Dr. Amy Riek, MD (right)

## Slide 82: Thank you!

## Slide 83: What Makes a Lab Value Informative?
Significance is relative to a prior (H0) model
H0 depends on what you know!
Measurement
Prior Belief (H0)
*
Uncertainty Quantification.
~"reference interval"
In diagnostic setting
NACB calls for reference range of 0.2 − 10.0 for inpatients

## Slide 84
Samples with known concentrations are measured
Which is the more appropriate interval for comparison?
Analogy with “Instrument Diagnosis”
*

## Slide 85: “Pre-Clinical”
  affects measurement
  presumed clinically uninformative
  known at time of measurement

## Slide 86: Sources of Laboratory Variation
"Laboratory Error" Degrades Clinical Predictive Value
  Pre-Analytical*
  Analytical
Approach: Process Control and Measurement Calibration
patient preparation specimen collection
interference
malfunction
adjusting a device or measuring instrument so that its readings are correct within a specified tolerance
Notes: Insight: Measurement can be assumed independent of clinical processes

## Slide 87: Sources of Laboratory Variation
"Laboratory Error" Degrades Clinical Predictive Value
  Pre-Analytical*
  Analytical
Approach: Process Control and Measurement Calibration
Are there uncontrollable sources of variation?
patient preparation specimen collection
interference
malfunction
adjusting a device or measuring instrument so that its readings are correct within a specified tolerance
Notes: Insight: Measurement can be assumed independent of clinical processes

## Slide 88: "Pre-Clinical"
Preclinical Variation: Unavoidable, measurement variation caused by benign circumstances of measurement and benign patient characteristics.
  Timing of measurement (of year)
  Gender/Age of patient
  Seasonality
  Diet
Notes: Preclinical Error: Medical inference from data consistent with Preclinical Variation

## Slide 89: "Pre-Clinical"
Preclinical Variation: Uncontrollable influence on measurement or sample of patient timing or trait consistent with healthy variation
  Gender
  Seasonality
  "Normal Variation" within a Reference Population
Approach: Uncertainty Control Characterization
Notes: Preclinical Error: Medical inference from data consistent with Preclinical Variation

## Slide 90
I propose that modeling Observable Intrinsic sources of variation in TSH would reduce overdiagnosis by reflecting preclinical variation
I propose a ML model for for patient-specific uncertainty that avoids (costly) patient stratification using two key, recent AI modeling paradigms.
Causes of Error | Observable​ | Hidden​
Modifiable​ | ​Standardization Calibration | ​—
Intrinsic​ | ? X ? | Reference Intervals​
Notes: I propose "coverage intervals"
"calibrate reference intervals" to patient and preclinical data

## Slide 91: LGM Grand Rounds Local (WUSM/BJH) application
Think like a director:
  Should the lab’s practice actually change based on this information?
Weigh the benefits against the risks/costs
  Benefits - improved diagnostic accuracy or treatment?
  Risks/costs:
    Provide monetary information (cost of test, etc.)
    Provide historical test utilization (e.g. # tests/year)

## Slide 92: Setup:
  TSH measurement Y
  Side Information X
  p variables time of day, season of year, age, Rx, admitted?…

## Slide 93: Setup:
  Learn from n previous from the same population...
  (X1,Y1),…,(Xn,Yn)
  TSH measurement Y
  Side Information X
  p variables time of day, season of year, age, Rx, admitted?…

## Slide 94: Criteria for Model:
  Answer
  "is Yn+1 consistent with Xn+1?"
  B. Provably Correct
  "at least 95% of the time"

## Slide 95: Model Assumptions:
  For each encounter measuring TSH
  "is Yn+1 consistent with Xn+1?"
  "at least 95% of the time"
⇐ Xn+1 predicts Yn+1 (no new information)
Yn+1 is in prediction set C(Xn+1) except for at most 5% of the time
encounters measuring TSH := (Xn+1,Yn+1)​

## Slide 96
No assumptions about dependence of TSH (Y) on features (X)
Avoid "Curse of Dimensionality"
  Fit q(Y|X) instead of q(X,Y) (Favor prediction>inference)
Use:
p >> n
Model Criteria: Make no Assumptions
Beware Dimensionality

## Slide 97: Model Criteria: Output = Interval
Not a straight forward prediction problem
Model Interval using two models
TSH Conditional Percentile qα(X)
qα(X) ~ NeuralNetα(X, parameters)

## Slide 98: Model Criteria: Output = Interval
Not a straight forward prediction problem
Model Interval using two models
TSH Conditional Percentile qα(X)
qα(X) ~ Netα(X, parameters)
"Coverage Interval" C(X)
Set α = 0.05 αlow=α/2, αhigh=1-α/2
C(X)=[qα-low(X) , qα-high(X)]
Interval C(X) is "Valid" if

## Slide 99: Feedback - still fundamental
Content
Was the topic clinically relevant?
Did you take a clear stand?
Did you critically review literature?
Did you discuss lab testing details?
Was it relevant to local practices?

## Slide 100: Feedback - still fundamental
Delivery
Speaker
Scope
Slides

## Slide 101: Feedback - still fundamental
Overall
Benchmarking
Feedback
The trainee presentation was high quality, effectively demonstrating speaker and presentation skills outlined above
Was this presentation free of commercial bias? Yes/No?

## Slide 103: You will deliver two types of LGM presentations

## Slide 104: LGM Grand Rounds General formula for success
CME disclosure and Learning objectives
Background - bring everyone to the same level of understanding
Goal/purpose/focus slide - clear statement of your opinion and why it’s important
Outline
Description of relevant tests in detail
Literature review
  Pick 2 or 3 major papers to focus on - quality over quantity!
  Critical review - state what you agree with and disagree with, and why
Relevance to WUSM/BJC – discuss clinical and financial impact at our hospital
Conclusion - restate your objective, and why you just proved it

## Slide 105
LGM Grand Rounds General formula for success
Background &
Purpose
Lab methods & processes
Paper #2
Critical
review
Application to WUSM/BJC
Conclusion
Paper #1
Critical
review
Paper #3
Critical review
CME slide
Learning objectives
Q&A
Courtesy of Dr. Ron Jackups
Time
~10-15
minutes
~45-50 minutes
HARD STOP
55-60
minutes

## Slide 106: LGM Grand Rounds Background & Purpose
Background
Bring everyone to the same level of understanding
Know your audience
Goal/purpose/focus slide
- clear statement of your opinion and why it’s important

## Slide 107: LGM Grand Rounds Lab Methods and processes
Current state
Essential for audience to understand the literature and your stance
Lab medicine trainees should be fluent in the lab methods presented
  For complex tests, go step-by-step
  Discuss gold standards when applicable

## Slide 108: LGM Grand Rounds Critical literature review
What are the authors trying to prove?
  What goal(s) do they set in the abstract and introduction?
  Is their study design appropriate to the goal?
  What hypotheses (null and alternate) do they use for their statistical tests?
Did they prove it?
  Are you convinced by their conclusions? Explain.
  How would you counsel a clinician regarding the test or therapy discussed?
Literature review​
  Pick 2 or 3 major papers to focus on - quality over quantity!​
  Critical review - state what you agree with and disagree with, and why

## Slide 109: LGM Grand Rounds Test utility evaluation
Study population
Screening test: general population
Diagnostic test: a population with high pre-test suspicion of disease (to simulate real-life use)
Measures of test accuracy
Sensitivity/specificity/PPV/NPV: when a gold standard is established
Concordance (kappa or correlation): comparing two tests without a clear gold standard

## Slide 110: LGM Grand Rounds Local (WUSM/BJH) application
Think like a director:
  Should the lab’s practice actually change based on this information?
Weigh the benefits against the risks/costs
  Benefits - improved diagnostic accuracy or treatment?
  Risks/costs:
    Provide monetary information (cost of test, etc.)
    Provide historical test utilization (e.g. # tests/year)

## Slide 111: Quantile Regression: Relation to MSE
Mean
Median (Quantile = 0.5)
Quantile α
Σ |ȳ - yi|2
Σ |ȳ - yi|
Σ ρα(ȳ - yi)
Minimize loss Σ L(ȳ - yi)
Statistic to estimate ȳ
Graph L(x)
Slope (1-α) or α

## Slide 112: Why is delivering LGM Grand Rounds important? For you
https://www.acgme.org/globalassets/pdfs/milestones/selectivepathologymilestones.pdf

## Slide 113: LGM Grand Rounds Potential pitfalls
No or insufficient learning objectives
No goal statement near the beginning
Poor understanding of lab testing (e.g. gold standard)
Too many papers covered too superficially
No critical evaluation of literature
No analysis of utilization at BJH/Wash U
Used giant tables/figures with tiny font
Not enough advance preparation or practice
No faculty mentor

## Slide 114: Some tips for preparing for LGM Grand Rounds
Choosing a topic is half the effort
Pick something that interests you and go with it
Ask for ideas
Identify a faculty mentor
This is required
We want to help!
Don’t procrastinate
Allow at least one month for iterative review and preparation with faculty
Use this as a chance to improve this skill
Stay within
your timeslot
Learn what you can about the topic, and yourself
Know your audience
Trainees who have never taken the rotation, faculty who did not do a fellowship in that specialty
Who in the crowd is going to learn the most from you?

## Slide 115: You will deliver two types of LGM presentations
GREAT

## Slide 116: To deliver two types of LGM presentations
Requirements at baseline:
Conflict of interest statement
Learning objectives
References
Acknowledgements
Time awareness
GREAT
Skills to hone:
Potential distractors
Time management
Visuals

## Slide 117: CME, COIs and LOs
Continuing medical education (CME) – required to remain boarded
– we all need it (and you will too soon enough)
CME requirements:
Conflict of interest (COI) disclosure
  “I have (no) conflict of interests in relation to this presentation.”
  You must state if you discuss “off-label” uses of a drug
Learning objectives
  “At the end of this presentation, attendees will be able to:”
    [Action verb] [objective]
    Example: “Describe the limitations of NAAT testing for TB.”
  Action verbs: e.g. “describe” or “list,” not “know” or “understand”

## Slide 118: Action verbs!
Words that are NOT measurable and should not be used (i.e., know, grasp the significance of, have knowledge of, comprehend, think, be aware of, remember, perceive, understand, appreciate, learn).
https://www.aabb.org/docs/default-source/default-document-library/annual-meeting/aabb-annual-meeting-education-session-proposal-guide.pdf?sfvrsn=4f25dc21_8
Learning objectives ≠ Outline!
What are the 2-3 most important take-away points for the audience?

## Slide 119: Learning objectives - examples
Bad learning objectives:
Understand the scope of the federal government in regulation of clinical labs
Common themes of CAP checklist requirements for lab testing
Know published laboratory standards to improve clinical practice
Better learning objectives:
Describe the scope of the federal government in regulation of clinical labs
List the common themes of CAP checklist requirements for lab testing
Apply published laboratory standards to improve clinical practice

## Slide 120: Some tips for GREAT LGM presentations Learn about your own distractors
Fidgeting
  Anchor yourself to the podium
Pointers
  Be deliberate
  Stabilize your arm with your other arm
  Don’t use a pointer at all
Verbal tics (“um…”)
  Present in front of someone who can tell you if you have any
Reading slides or notes verbatim
  Don’t! We can tell, and it’s distracting

## Slide 121: Some tips for GREAT LGM presentations Know your scope
Quality over quantity
Stick only to the goals on your objective slide
Too many topics  superficial coverage
Avoid extraneous/irrelevant content
Be prepared to cut large portions of your talk if needed for timing
  Don’t feel bad about your extra work being cut; all good speakers do this!

## Slide 122: Some tips for GREAT LGM presentations Time management
For actual presentation:
Start on time
Shoot for your presentation to last ~75% of the time provided
An interesting talk should produce a lot of questions and discussion
A talk running a little short >>>>>> talk running long
Leading up to the presentation:
Leave plenty of time to work with faculty mentor
Practice a few times by yourself or in front of others:
  To anticipate timing
  To optimize overall flow
  To recognize potential distractors

## Slide 123: Some tips for GREAT LGM presentations Visuals
Titles
Need one on every single slide
Try to make them complete thoughts
Cite references on the slides in which you reference them
Citations must be complete enough that someone can find them easily
(author, journal, year, issue, pages)
A slide at the end is not sufficient
Use templates when requested
Look – I’m using one now!

## Slide 124: Some tips for GREAT LGM presentations Visuals
Avoid spellling and grammar errors
Attention to detail matters
Proofread (Powerpoint has a function for it!)
Be careful with humor
Do so at your own risk
Almost no one laughs at canned jokes
The audience is diverse
Be careful with digressions and interesting but irrelevant “history lessons”

## Slide 125: Some tips for GREAT LGM presentations Visuals
Avoid walls of text
  You don’t want your audience reading lots of text instead of paying attention to you
    In addition, people get bored quickly with nothing to look at but lots of words and eventually start to tune out and then their minds drift and then you lose them entirely
      And no one wants to read small font on a presentation without binoculars
        Really, anything more than 2 indents is way too much
          If you can’t keep people interested in what you say, more text likely won’t help
            Even if it’s virtual, this is still way to much to read
              Another one? Really?

## Slide 126: Some tips for GREAT LGM presentations Visuals
Figures
The best way to break up the monotony of text
  Forces the audience to listen to your explanation
If the figure in a paper is inadequate or contains too much unnecessary information, break it up or make your own!
Use animation to control the audience’s attention
Charts
Better than text to summarize data
If using charts from a paper:
  Make sure the text is visible
  Mark important data to direct the audience’s attention
If the chart from a paper is too big or contains too much unnecessary information, make your own!

## Slide 127: A recent example of adapting a figure

## Slide 128: Quantile Regression: Pinball Loss
Mean
Median (α = .5)
Percentile α
Σ |x̄ - xi|2
Σ |x̄ - xi| Σ ℓα(x̄ - xi) "pinball loss"
Minimize loss Σ L(x̄ - xi)
Statistic to Estimate x̄
Graph L(x)

## Slide 129: Learning Objectives
By the end of this session, the learner should be able to:
Appreciate the clinical importance of the diagnosis and treatment of subclinical hypothyroidism.
Appraise literature and analyze data on the phenomenon of seasonal TSH.
Review traditional, proposed, and modern approaches to this decision making process.
Review (sketch of ) a proposal for "expectation intervals", in which the end-points (analogous to upper and lower reference values) are calibrated to reflect uncertainty and benign variation in patient-specific, setting-aware manner.

## Slide 130: LGM Grand Rounds Critical literature review
What are the authors trying to prove?
  What goal(s) do they set in the abstract and introduction?
  Is their study design appropriate to the goal?
  What hypotheses (null and alternate) do they use for their statistical tests?
Did they prove it?
  Are you convinced by their conclusions? Explain.
  How would you counsel a clinician regarding the test or therapy discussed?

## Slide 131: LGM Grand Rounds Test utility evaluation
Study population
Screening test: general population
Diagnostic test: a population with high pre-test suspicion of disease (to simulate real-life use)
Measures of test accuracy
Sensitivity/specificity/PPV/NPV: when a gold standard is established
Concordance (kappa or correlation): comparing two tests without a clear gold standard

## Slide 132
A lab result can have benign causes rooted in either the measurement process or in normal human variation.
Presently, these two cases are handled separately:
Quantifying "normal variation"
Calibrating or controlling for interference

## Slide 133
A lab result can have benign causes rooted in either the measurement process or in normal human variation.
Presently, these two cases are handled separately:
Quantifying "normal variation"
Calibrating or controlling for interference
If "Real", seasonal, healthy variation in TSH both
Resists characterization of a "normal" population
Must be calibrated, not controlled for

## Slide 134: Subclinical Hypothyroidism in Older Adults
Biondi & Cappola. The Lancet. 2022. PMID 34953533.